## Sheet2
Data categories | Data requirements |  | Comment | Unit | Resolution | From date | To date
Existing Buildings + Planned Buildings | Building name | FALSE | Chalmers fastighet
| Address | FALSE
| Construction year | FALSE
| Building uses | FALSE
| Last renovation year | FALSE
| Renovation level | FALSE
| Building 3D model if available | FALSE
| 2D - copies (plan, section, elevation, details) | FALSE
| Building footprint (EPSG 3006) | FALSE
| number of floors | FALSE
| Floor to floor height | FALSE |  | m
| Basement (Y/N) | FALSE
| roof type | FALSE
| roof angle | FALSE |  | Degree °
| infiltration rate | FALSE
Roof construction materials | List of construction materials layers | FALSE
| Thickness of each layer | FALSE |  | m
| U-value of each material | FALSE |  | W/m2.K
External walls construction materials | List of construction materials layers | FALSE
| Thickness of each layer | FALSE |  | m
| U-value of each material | FALSE |  | W/m2.K
Floor construction materials | List of construction materials layers | FALSE
| Thickness of each layer | FALSE |  | m
| U-value of each material | FALSE |  | W/m2.K
Windows | Type of windows single, double, triple glazed | FALSE
| Type of gas | FALSE
| window x-axis dimension | FALSE
| window y-axis dimension | FALSE
| window to wall ratio | FALSE
Occupancy schedule for each building | Starting hours | FALSE | Chalmers itself, has more, Some buildings from CO2, time channels for HVAC. Elctro, Mekanik etc are old. | Date+Hour | hourly | 2023-01-01 | 2025-01-25
| closing hours | FALSE |  | Date+Hour | hourly | 2023-01-01 | 2025-01-25
Typical weekday | 24 hrs occupancy percentage (hrs) | FALSE |  | %
Typical Saturday | 24 hrs occupancy percentage (hrs) | FALSE |  | %
Typical Sunday | 24 hrs occupancy percentage (hrs) | FALSE |  | %
Typical public holiday | 24 hrs occupancy percentage (hrs) | FALSE |  | %
Occupancy program for each building | percentage of each use per building by gross area (ex.20% labs, 40% classrooms, 20% offices, 15 restaurants, 5 corridors and stairs) | FALSE |  | %
HVAC systems of each building | Heat pump (data center only), Centrally placed HPs, district heating or FTX? | FALSE | Property Energy,Hyrestgäst,
| HVAC electricity consumption | FALSE |  | kWh | hourly | 2023-01-01 | 2025-01-25
| What is the system for cooling? | FALSE
| What is the maintained indoor temperature (summer & winter) | FALSE | in office, specific labs, classrooms,..? | °C
Electricity consumption per building (sub meter) |  | FALSE |  | kWh | hourly | 2023-01-01 | 2025-01-25
Energy Tariffs | Cost of electricity | FALSE | Differe during the year (power cost, energy) | kWh | 1 hour | 2023-01-01 | 2025-01-25
| Cost of heating | FALSE |  | kWh | 1 hour | 2023-01-01 | 2025-01-25
Energy intensive equipment | Type of equipment | FALSE | ? Responsible for different buildings (AH colleagues)
| Consumption | FALSE |  | kWh | Hourly
Hot water consumption | what is the supply temperature? | FALSE | We dont measure that, we are measuring complete demand. Summer time - electrical heating. Approximation (10%) | °C | Hourly
| What is the flow rate? | FALSE |  | m3/h | Hourly
| What is the hot water demand? | FALSE |  | m3/h | Hourly | 2023-01-01 | 2025-01-25
PV Panels + inverter | Module data sheet (URL/PDF) | FALSE
(for each PV system: Building Integerated PV + rooftop PV) | Installed capacity | FALSE |  | kWp
| Optimizer (Y/N) | FALSE
| hourly electricity production | FALSE |  | kWh | Hourly | 2020-01-01 | 2025-01-25
On site Battery Energy Storage System | Data sheet (URL/PDF) | FALSE | ? AWL (Ferroamp)
| Installed capacity | FALSE |  | kWp | -
| State of Charge reading (hourly annual) | FALSE |  | kWh | Hourly | 2023-01-01 | 2025-01-25
Smart meters | Type | FALSE | Energyportal AH / Overall use
| Location-lat (EPSG 3006) | FALSE
| Location-long (EPSG 3006) | FALSE
| Units | FALSE
Energy management system | What types? and where (zones)? | FALSE | Three: subsystems. One main system to communicate with other systems
Weather data | If there is any on-site weather station for data recording? | FALSE | Two + One (HSB LL) |  | Hourly | 2023-01-01 | 2025-01-25
Mobility
Parking slots | Location-lat (EPSG 3006) | FALSE | Chalmers
| Location-long (EPSG 3006) | FALSE
| Number of parking slots | FALSE
Shared mobility pool | Location-lat (EPSG 3006) | FALSE
| Location-long (EPSG 3006) | FALSE
| Number of cars | FALSE
EV Charging stations (Existing +planned) | Location-lat (EPSG 3006) | FALSE | No (AWL) / CF
| Location-long (EPSG 3006) | FALSE
| Number of charging stations | FALSE
| Charging capacity | FALSE |  | kW
| Charge usage | FALSE |  | kWh | Hourly